## CSV fields
Field | Logical name (C.D.E) | Description | Unit | Type
RID |  | The report number that the device processed. This counter increments from the time the device boots. |  | integer
TIME |  | Date and time sent by the meter in the report, in local timezone |  | string (ISO-8601)
MID | 96.1.0 | Meter identifier |  | string
MSTAT |  | Meter status |  | string enum ( NO INIT, NO DATA, RECOGNITION, OK, ENCRYPTION KEY, KEY REQUIRED, NOT RECOGNIZED)
TARIFF |  | Current tariff |  | integer (1..2)
PF | 13.7.0 | Instantaneous power factor |  | float
EAP_T | 1.8.0 | Positive active energy (A+) total | kWh | float
EAP_T1 | 1.8.1 | Positive active energy (A+) in tariff T1 | kWh | float
EAP_T2 | 1.8.2 | Positive active energy (A+) in tariff T2 | kWh | float
EAN_T | 2.8.0 | Negative active energy (A+) total | kWh | float
EAN_T1 | 2.8.1 | Negative active energy (A+) in tariff T1 | kWh | float
EAN_T2 | 2.8.2 | Negative active energy (A+) in tariff T2 | kWh | float
ERP_T | 3.8.0 | Positive reactive energy (Q+) total | kvarh | float
ERP_T1 | 3.8.1 | Positive reactive energy (Q+) in tariff T1 | kvarh | float
ERP_T2 | 3.8.2 | Positive reactive energy (Q+) in tariff T2 | kvarh | float
ERN_T | 4.8.0 | Negative reactive energy (Q-) total | kvarh | float
ERN_T1 | 4.8.1 | Negative reactive energy (Q-) in tariff T1 | kvarh | float
ERN_T2 | 4.8.2 | Negative reactive energy (Q-) in tariff T2 | kvarh | float
ERII_T | 5.8.0 | Imported inductive reactive energy in 1-st quadrant (Q1) total | kvarh | float
ERII_T1 | 5.8.1 | Imported inductive reactive energy in 1-st quadrant (Q1) in tariff T1 | kvarh | float
ERII_T2 | 5.8.2 | Imported inductive reactive energy in 1-st quadrant (Q1) in tariff T2 | kvarh | float
ERIC_T | 6.8.0 | Imported capacitive reactive energy in 2-nd quadrant (Q2) total | kvarh | float
ERIC_T1 | 6.8.1 | Imported capacitive reactive energy in 2-nd quadr. (Q2) in tariff T1 | kvarh | float
ERIC_T2 | 6.8.2 | Imported capacitive reactive energy in 2-nd quadr. (Q2) in tariff T2 | kvarh | float
EREI_T | 7.8.0 | Exported inductive reactive energy in 3-rd quadrant (Q3) total | kvarh | float
EREI_T1 | 7.8.1 | Exported inductive reactive energy in 3-rd quadrant (Q3) in tariff T1 | kvarh | float
EREI_T2 | 7.8.2 | Exported inductive reactive energy in 3-rd quadrant (Q3) in tariff T2 | kvarh | float
EREC_T | 8.8.0 | Exported capacitive reactive energy in 4-th quadrant (Q4) total | kvarh | float
EREC_T1 | 8.8.1 | Exported capacitive reactive energy in 4-th quadr. (Q4) in tariff T1 | kvarh | float
EREC_T2 | 8.8.2 | Exported capacitive reactive energy in 4-th quadr. (Q4) in tariff T2 | kvarh | float
MDAP_T | 1.6.0 | Positive active maximum demand (A+) total | kWh | float
MDAP_T1 | 1.6.1 | Positive active maximum demand (A+) in tariff T1 | kWh | float
MDAP_T2 | 1.6.2 | Positive active maximum demand (A+) in tariff T2 | kWh | float
MDAN_T | 2.6.0 | Negative active maximum demand (A-) total | kWh | float
MDAN_T1 | 2.6.1 | Negative active maximum demand (A-) in tariff T1 | kWh | float
MDAN_T2 | 2.6.2 | Negative active maximum demand (A-) in tariff T2 | kWh | float
IPAP_T | 1.7.0 | Positive active instantaneous power (A+) | kW | float
IPAP_L1 | 21.7.0 | Positive active instantaneous power (A+) in phase L1 | kW | float
IPAP_L2 | 41.7.0 | Positive active instantaneous power (A+) in phase L2 | kW | float
IPAP_L3 | 61.7.0 | Positive active instantaneous power (A+) in phase L3 | kW | float
IPAN_T | 2.7.0 | Negative active instantaneous power (A-) | kW | float
IPAN_L1 | 22.7.0 | Negative active instantaneous power (A-) in phase L1 | kW | float
IPAN_L2 | 42.7.0 | Negative active instantaneous power (A-) in phase L2 | kW | float
IPAN_L3 | 62.7.0 | Negative active instantaneous power (A-) in phase L3 | kW | float
IPRP_T | 3.7.0 | Positive reactive instantaneous power (Q+) | kvar | float
IPRP_L1 | 23.7.0 | Positive reactive instantaneous power (Q+) in phase L1 | kvar | float
IPRP_L2 | 43.7.0 | Positive reactive instantaneous power (Q+) in phase L2 | kvar | float
IPRP_L3 | 63.7.0 | Positive reactive instantaneous power (Q+) in phase L3 | kvar | float
IPRN_T | 4.7.0 | Negative reactive instantaneous power (Q-) | kvar | float
IPRN_L1 | 24.7.0 | Negative reactive instantaneous power (Q-) in phase L1 | kvar | float
IPRN_L2 | 44.7.0 | Negative reactive instantaneous power (Q-) in phase L2 | kvar | float
IPRN_L3 | 64.7.0 | Negative reactive instantaneous power (Q-) in phase L3 | kvar | float
IPA_T | 9.7.0 | Apparent instantaneous power (S+) | kVA | float
V_L1 | 32.7.0 | Instantaneous voltage (U) in phase L1 | V | float
V_L2 | 52.7.0 | Instantaneous voltage (U) in phase L2 | V | float
V_L3 | 72.7.0 | Instantaneous voltage (U) in phase L3 | V | float
I_L1 | 31.7.0 | Instantaneous current (I) in phase L1 | A | float
I_L2 | 51.7.0 | Instantaneous current (I) in phase L2 | A | float
I_L3 | 71.7.0 | Instantaneous current (I) in phase L3 | A | float
MIDENT | 42.0.0 | Meter identifier |  | string
MMODEL | 96.1.1 | Meter model |  | string
MIF |  | Meter interface |  | string enum (P1, MBUS, TTL, MEP)
MPROT |  | Meter protocol |  | string enum (DSMR, DLMS, KMP, MEP)
RP |  | Report period. How often does the meter send a report |  | float