## CSV fields
RID | TIME | MID | MSTAT | TARIFF | PF | EAP_T | EAP_T1 | EAP_T2 | EAN_T | EAN_T1 | EAN_T2 | ERP_T | ERP_T1 | ERP_T2 | ERN_T | ERN_T1 | ERN_T2 | ERII_T | ERII_T1 | ERII_T2 | ERIC_T | ERIC_T1 | ERIC_T2 | EREI_T | EREI_T1 | EREI_T2 | EREC_T | EREC_T1 | EREC_T2 | MDAP_T | MDAP_T1 | MDAP_T2 | MDAN_T | MDAN_T1 | MDAN_T2 | IPAP_T | IPAP_L1 | IPAP_L2 | IPAP_L3 | IPAN_T | IPAN_L1 | IPAN_L2 | IPAN_L3 | IPRP_T | IPRP_L1 | IPRP_L2 | IPRP_L3 | IPRN_T | IPRN_L1 | IPRN_L2 | IPRN_L3 | IPA_T | V_L1 | V_L2 | V_L3 | I_L1 | I_L2 | I_L3 | MIDENT | MMODEL | MIF | MPROT | RP
|  | 96.1.0 |  |  | 13.7.0 | 1.8.0 | 1.8.1 | 1.8.2 | 2.8.0 | 2.8.1 | 2.8.2 | 3.8.0 | 3.8.1 | 3.8.2 | 4.8.0 | 4.8.1 | 4.8.2 | 5.8.0 | 5.8.1 | 5.8.2 | 6.8.0 | 6.8.1 | 6.8.2 | 7.8.0 | 7.8.1 | 7.8.2 | 8.8.0 | 8.8.1 | 8.8.2 | 1.6.0 | 1.6.1 | 1.6.2 | 2.6.0 | 2.6.1 | 2.6.2 | 1.7.0 | 21.7.0 | 41.7.0 | 61.7.0 | 2.7.0 | 22.7.0 | 42.7.0 | 62.7.0 | 3.7.0 | 23.7.0 | 43.7.0 | 63.7.0 | 4.7.0 | 24.7.0 | 44.7.0 | 64.7.0 | 9.7.0 | 32.7.0 | 52.7.0 | 72.7.0 | 31.7.0 | 51.7.0 | 71.7.0 | 42.0.0 | 96.1.1
The report number that the device processed. This counter increments from the time the device boots. | Date and time sent by the meter in the report, in local timezone | Meter identifier | Meter status | Current tariff | Instantaneous power factor | Positive active energy (A+) total | Positive active energy (A+) in tariff T1 | Positive active energy (A+) in tariff T2 | Negative active energy (A+) total | Negative active energy (A+) in tariff T1 | Negative active energy (A+) in tariff T2 | Positive reactive energy (Q+) total | Positive reactive energy (Q+) in tariff T1 | Positive reactive energy (Q+) in tariff T2 | Negative reactive energy (Q-) total | Negative reactive energy (Q-) in tariff T1 | Negative reactive energy (Q-) in tariff T2 | Imported inductive reactive energy in 1-st quadrant (Q1) total | Imported inductive reactive energy in 1-st quadrant (Q1) in tariff T1 | Imported inductive reactive energy in 1-st quadrant (Q1) in tariff T2 | Imported capacitive reactive energy in 2-nd quadrant (Q2) total | Imported capacitive reactive energy in 2-nd quadr. (Q2) in tariff T1 | Imported capacitive reactive energy in 2-nd quadr. (Q2) in tariff T2 | Exported inductive reactive energy in 3-rd quadrant (Q3) total | Exported inductive reactive energy in 3-rd quadrant (Q3) in tariff T1 | Exported inductive reactive energy in 3-rd quadrant (Q3) in tariff T2 | Exported capacitive reactive energy in 4-th quadrant (Q4) total | Exported capacitive reactive energy in 4-th quadr. (Q4) in tariff T1 | Exported capacitive reactive energy in 4-th quadr. (Q4) in tariff T2 | Positive active maximum demand (A+) total | Positive active maximum demand (A+) in tariff T1 | Positive active maximum demand (A+) in tariff T2 | Negative active maximum demand (A-) total | Negative active maximum demand (A-) in tariff T1 | Negative active maximum demand (A-) in tariff T2 | Positive active instantaneous power (A+) | Positive active instantaneous power (A+) in phase L1 | Positive active instantaneous power (A+) in phase L2 | Positive active instantaneous power (A+) in phase L3 | Negative active instantaneous power (A-) | Negative active instantaneous power (A-) in phase L1 | Negative active instantaneous power (A-) in phase L2 | Negative active instantaneous power (A-) in phase L3 | Positive reactive instantaneous power (Q+) | Positive reactive instantaneous power (Q+) in phase L1 | Positive reactive instantaneous power (Q+) in phase L2 | Positive reactive instantaneous power (Q+) in phase L3 | Negative reactive instantaneous power (Q-) | Negative reactive instantaneous power (Q-) in phase L1 | Negative reactive instantaneous power (Q-) in phase L2 | Negative reactive instantaneous power (Q-) in phase L3 | Apparent instantaneous power (S+) | Instantaneous voltage (U) in phase L1 | Instantaneous voltage (U) in phase L2 | Instantaneous voltage (U) in phase L3 | Instantaneous current (I) in phase L1 | Instantaneous current (I) in phase L2 | Instantaneous current (I) in phase L3 | Meter identifier | Meter model | Meter interface | Meter protocol | Report period. How often does the meter send a report
[6 empty] | kWh | kWh | kWh | kWh | kWh | kWh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kvarh | kWh | kWh | kWh | kWh | kWh | kWh | kW | kW | kW | kW | kW | kW | kW | kW | kvar | kvar | kvar | kvar | kvar | kvar | kvar | kvar | kVA | bar: V_L1 to I_L3